## Slide 1: Energy Balance Model for the Universitas Pertamina Temperature Control Device

## Slide 2: Heat Dissipated by a Resistor
is the voltage across the resistor
is the resistance of the resistor
is the applied PWM percentage (from 0 to 1)
is the maximum voltage ( Volts)

## Slide 3: Heat Dissipated by a Resistor
Thus:
However, since we can not guarantee the correctness of the PWM , and , we then introduce a correcting factor
We will use an optimization method to find .

## Slide 4: Energy Balance Model

## Slide 5: Energy Balance Model
is the heat transfer coefficient -
is the emissivity (from 0 to 1)
is the Stefan-Boltzman constant , the value is
is the heat capacity -
is the temperature of the resistor -
is the ambient temperature -

## Slide 6: Finding the Unknown Parameters
Rewrite the energy balance equation in the following form:

## Slide 7: Finding the Unknown Parameters
Known values so far:
  is the given PWM command
  Volts
  Ohms
  and are from measurement
Parameters to find:
  , from 0 to 1
  , probably from 0 to 1
More or less, measured with a ruler and a scale.

## Slide 8: Results

## Slide 9: Results

## Slide 10: Results
By using the fminsearch command (fmincon gives worse estimates)
And the maximum value of the absolute error is less than .

## Slide 11: Results
Seriously, no time delay?
Why?

## Slide 12: Modeling Heat Transfer Coefficient by the Fan
Small fan on top the heater. The speed of the fan can be adjusted,
from 0 (no speed) to 1 (full speed).

## Slide 13: Energy Balance Model
The model becomes:
is the heat transfer rate for normal convection while is by the fan.
is the speed of the fan (from 0 to 1).

## Slide 14: Results

## Slide 15: Results

## Slide 16: Results
By using the fminsearch command:
And the maximum value of the absolute error is less than .
The other parameters get slightly readjusted. Compare them with the previous experiment.
We have some uncertainties here, every time we do the experiment, we might end up with slightly different values.